## Slide 1
Diagnostics for plasma-
based electron accelerators
Laser-Plasma Accelerator Workshop (LPAW 2019)
Split, 9 May 2019
Mike Downer
University of Texas at Austin
• Diagnostics: a new LPAW working group
• Looking back: What new diagnostics have we developed for LPAs?
• Looking forward: What new LPA diagnostics do we still need?
MC Downer, R Zgadzaj, A Debus, U Schramm & MC Kaluza,
“Diagnostics for plasma-based electron accelerators,”
Rev. Mod. Phys. 90, 35002 (2018).
“Diagnostics in widespread use with conventional RF accelerators have,
by and large, proven insufficient for characterizing plasma-based
electron accelerators.”
Notes: Limit scope: diagnostic innovations specifically spurred by plasma-based electron accelerators.
Reference to RMP article. New diagnostics WG in LPAW.
Look back over past 2 decades: what new diagnostics have we developed?
Look forward over next decade: What are the challenges?

## Slide 2
Plasma-based accelerators posed
a dual diagnostic challenge ...
e-bunches can be ...
... transversely small: 0.1 < σx < 1µm
... longitudinally short: 0.3 < σz ~ 3 µm (1 < τ < 10 fs)
condensed matter w/o ions
2. Plasma accelerator (PA) structures are ...
... tens of µm size ... evolving
... luminal velocity ... transient
transverse normalized emittance 0.1 < εn ≤ 1 mm mrad
How do we diagnose them in the laboratory?

## Slide 3
Early measurements of normalized transverse emittance εN
of PA*-electrons adopted conventional techniques
1) Intercepting masks: “Pepper-pots”
2) Focus-scans
Fritzler, PRL 92, 165006 (2004)
Sears, PR ST-AB 13, 092803 (2010)
Brunetti, PRL 105, 215007 (2010)
Cianchi NIM-A 720, 153 (2013)
e-bunch
• only set upper limit
εn ≤ 1 mm mrad
Weingartner, PR-STAB 15, 111302 (2012)
van Tilborg, PRL 115, 184802 (2015)
Barber, PRL 119, 104801 (2017)
Challenge: small source size, large energy spread & divergence
Challenge: PA beams have ~5% energy spread, not 0.1%
• resolved εn = 0.2 mm mrad
• measures εn in one shot
• εn grows in apparatus
• measurement is invasive
*plasma-accelerated
• measurement is invasive
energy-resolved
beam size
phase space difficult
to sample adequately

## Slide 4
2) Thomson x-ray backscatter
spectroscopy: εn outside PA
Golovin, Sci. Rpts. 6,
24622 (2016)
x-ray
detector
jet
magnet
Radiation from plasma-accelerated e-
bunches characterizes εN non-invasively
Plateau, PRL 109, 064802 (2012)
Schnell, PRL 108, 075001 (2012)
Köhler, NIM-A 829, 265 (2016)
rβ
εn ~ γσxσθ ~ 0.1 mm mrad
x-ray photon counting spectrum
σx = 0.3 µm
σx = 0.03 µm
σx = 0.1 µm
1) Betatron x-ray spectroscopy: εn inside PA
3) Transition Radiation (TR) imaging
εn = [<x2><γ2x’2> - <γxx’>2]1/2
≈ 0.06 mm mrad
Curcio, PR-AB 20, 012801 (2017)
LPA
driver
e-
θ
scatter
θ (mrad)
0
10
20
hνx (keV)
6
8
10
12
dNx/dEx
εn ≈ 0.15 mm mrad
at z = 1.5 mm
TR point spread
function (one e-)
10 µm
σx = 6 µm beam
2 µm
σx = 1.5 µm beam
Karataev, PRL 107,
164801 (2011)
Jochmann (2013)
HZDR
Pablo San Miguel (LOA), Tues 15:20, “γ-rays in beam-plasma interaction as a diagnostic
for emittance growth in PWFA and for beam filamentation instabilities”
Ta Phuoc (LOA), Mon 10:00
“Recent developments of betatron sources at LOA”
Wenchao Yan (ELI), Wed 11:30
“Inverse Compton x-ray source based
on LWFA”
Alec Thomas (UMich), Wed 11:00
“X-rays from Laser Wakefield Accelerators”
Notes: Production of ultra-low emittance beams in PWFA via e.g. Trojan Horse is a major challenge. This is an example of advanced emittance diagnosis in the context of LPA.
This answer’s yesterday’s question about state of the art in emittance for LPAs.
The photon-counting method may be restricted to x-ray photon energies in the 2-20 keV range (see Plateau).
Integrates over emission angle.

## Slide 5
Early measurements of temporal profile of PA
e-bunches also relied on traditional methods ...
1Casalbuoni, DESY Tech. Rep. 2005-01(2005)
2van Tilborg, PRL 96, 014801 (2006)
3Berden, PRL 99, 164801 (2007)
4Debus, PRL 104, 084802 (2010)
... electro-optic (eo) profiling:
• noninvasive, single-shot
* temporal resolution limited by
absorption, dispersion of eo
crystal at THz frequencies
• shortest τb reported:
~30 fs FWHM4
• eo crystal converts...
... bunch’s Lorentz-contracted E profile1
or ... THz CTR pulse generated by bunch2-4
into optical signal of similar τb

## Slide 6
• shortest τb reported:
~5 fs FWHM
Kaluza, PRL 105, 115002 (2010); Buck, A., Nature Phys. 7, 543 (2011)
5.3fs
Magneto-optic bunch length measurements
overcame material limits of eo measurements
• Lorentz-contracted B-field (~MG)
of e-bunch locally magnetizes
plasma bubble “wall”
• Magnetized region rotates polarization
of transverse ~5 fs probe pulse

## Slide 7
Laser “deflecting cavity” measures duration &
“slice ∆E” of chirped ultrashort LPA e- bunches
drive laser pulse
chirped
set-up
without slit
with slit
Measurement
Reconstructed longitudinal current profile
(e) reconstructed
longitudinal
phase
(f)
reconstructed
longitudinal
current
C. J. Zhang, Phys. Rev. Accel. Beams 19, 062802 (2016)
∆Eslice << ∆Etot
cf. RF transverse deflecting cavities for ps e-bunches: Behrens, PR-STAB 15, 062801 (2012)

## Slide 8
dW/dλ (nJ µm-1)
Wavelength (µm)
1.5 fs
0.7 fs
2.5 fs
4 fs
Lundh, Nat. Phys. 7, 219 (2011)
0
2
4
6
8
10
Coherent Transition Radiation (CTR) spectroscopy
reconstructs ~1 fs duration e-bunch temporal profiles
single e-
TR spectrum
N-electron
TR spectrum
TR becomes coherent when σz ≤ λTR:
coherent
incoherent
form factor:
multi-octave
spectrometer
magnet
driver
e-
CTR
σz < λTR
ITR
σz > λTR
jet
Iterative reconstruction of temporal profile
Reconstructed
bunch profiles
4-octave
CTR
spectrum
(0.4 -7 µm)
Heigoldt, PR-STAB 18, 121302 (2015)
TR foil
3-octave CTR spectrum
(0.55 – 5.5 µm)
Glinec, PRL 98, 194801 (2007)
Bajlekov,
PR-STAB 16,
040701 (2013)
No spectral
phase ψ(ω).
Phase-retrieval
algorithm:
UV to
mid-IR
|F(ω)|
|f(z)|
Spectral fringes reveal temporal micro-bunching
1-octave
CTR
spectrum
(0.4 -0.8 µm)
Alexander Debus (HZDR), Mon 18:30
“Broadband, spectral, single-shot CTR
diagnostics showing impact of injection
scheme on LWFA bunch profiles”
Notes: Beamstrahlung is the radiation from one beam of charged particles in linear colliders caused by its interaction with the electromagnetic field of the other beam. Coined by J. Rees, “Limitations on performance of e+e- storage rings and linear colliding beam systems at high energy,” It is a source of radiation loss in colliders. See file “Rees, Beamstrahlung.pdf” in OSU colloqium2016 folder.

## Slide 9
gas
Jet
LPA drive
laser pulse
e-
foil 1
foil 2:
MO
f
CCD
COTR inter-
ferometry
CCD
CCD
CCD
CCD
10 µm
400 nm
500 nm
600 nm
730 nm
Multi-spectral COTR images
COTR
spectro-
meter
Toward 3D reconstruction of LPA beam profiles
from spectroscopic COTR imaging, interferometry
LaBerge, Wed 18:00, “Multi-spectral COTR imaging & interferometry...”
pC/µm3
3 µm
10 µm
10 µm
0
10
σx,y ≈ 2 ± 0.3 µm
Partial
3D
bunch
recon-
struction

## Slide 10
LPA researchers have also advanced diagnostics of
e-bunch charge Q, energy distribn dNe/dEe, energy spread ∆Ee
e-bunch property | Traditional diagnostics | Challenges for PA1 electrons | Solutions, References
Total Q | ICTs2 | Noisy environment (EMP,3 low-Ee electrons) | Shielded, filtered ICTs Nakamura 2016 sensitivity: 1 pC < Q < 1 nC
Space-resolved Q (basis of e-spectrometers) | • Luminescing screens • Imaging Plates (IPs) | Response to fs, hi-Ipeak PA1 e-bunches? | New calibrations Buck 2010, Kurz 2018
dNe/dEe | magnetic spectrometer | • MeV - GeV Ee range • mrad θlaunch range | • 2–plane detection Pollock 2011, Wang 2013 • Undr radn spectrosc. Anania 2014, Gallacher 2009
∆Ee of main peak | as for dNe/dEe | ∆Ee/Ee < 0.01 unachievable? | • slice ∆Ee diagnostics ω-domain: Lin 2012 time-domain: Zhang 2016
Anania, APL 104, 264102 (2014)
Buck, Rev. Sci. Instrum. 81, 033301 (2010)
Gallacher, Phys. Plasmas 16, 093102 (2009)
Kurz, Rev. Sci. Instrum. 89, 093303 (2018)
Abbreviations:
1PA = Plasma-Accelerator
2ICT = Integrating Current Transformer
3EMP = Electro-Magnetic Pulses
see MD et al., Rev. Mod. Phys.90, 35002 (2018) for more detailed discussion
Lin, PRL 108, 094801 (2012)
Nakamura, PPCF 58, 034010 (2016)
Pollock, PRL 107, 0450001 (2011)
Wang, Nat. Commun. 4, 1988 (2014)
Zhang, PR-STAB 19, 062802 (2016)
References:

## Slide 11
Plasma-based accelerators posed
a dual diagnostic challenge ...
e-bunches can be ...
... transversely small: 0.1 < σx < 1µm
... longitudinally short: 0.3 < σz ~ 3 µm (1 < τ < 10 fs)
2. Plasma accelerator (PA) structures are ...
... tens of µm size ... evolving
... luminal velocity ... transient
transverse emittance 0.1 < εn ≤ 1 mm mrad
How do we diagnose them in the laboratory?

## Slide 12
LONG WAVELENGTH
SHORT WAVELENGTH
CURVED WAVES
The ability to capture pictures of plasma waves helps us
understand and improve laser-plasma accelerators
Laser-plasma accelerators come in many shapes & sizes
probe phase shift (rad)
(prop. to ne)
ne0 = 0.95 × 1018 cm-3
10 TW pump
ne0 = 5.9 × 1018 cm-3
10 TW pump
ne0 = 2.2 × 1018 cm-3
30 TW pump
50 µm
36 µm
15 µm
Nicholas Matlis

## Slide 13
Experiment
60
∆ϕprobe(r,ζ)
0.4
ne(r,ζ)
0
ζ [ps]
0
60
r [µm]
ζ [ps]
r [µm]
0
0.4
• wave fronts curve relativistically
0
60
60
pump
Simulation
“Frequency Domain Holography” (FDH)
Images Quasi-Static Wakes in One Shot
Matlis, Nature Phys. 2,
749 (2006)
Dong, NJP 12,
045016 (2010).
• waves compress & break behind pump
(new diagnostics can be a source of discovery!)
Chirped
Reference
Chirped
Probe
Wakefield ne = n0 + dne(t)
Ionization
Front
30 TW Pump
to
spectrometer
ne = 3 • 1018 cm-3

## Slide 14
FDH supports tuning of plasma wakes
excited by multiple laser pulses ...
Cowley, PRL 119, 044802 (2017)
FD Hologram of wake excited by single pulse
Amplitudes of wakes excited by N pulses vs. plasma density
N = 1
N = 2
N = 7
... a path to efficient, high-rep-rate plasma accelerators
resonant
excitation
conditions

## Slide 15
Transverse few-cycle probe shadow-
graphically images wake at selected ∆t
40-TW, 30 fs laser pulse drives plasma wake.
6 fs synchronized probe pulse impinges transversely.
(1)
(2)
(3)
Probe shadowgraphs imaged at selected ∆t.
Buck, Nat. Phys. 7, 453 (2011); Sävert, PRL 115, 055002 (2015)
CONS
• dynamic info requires multiple shots
• challenging to scale to ne < 3e18 cm-3
• requires extremely short probe pulse
position in gas jet (mm)
0
1
2
3
x – vpumpt (µm)
50 µm
relative intensity modulation
Pump
Lens
CCD
Gas jet (ne = 1.6 • 1019 cm-3)
x
z
y
(2)
probe
(1) pump
(3)
camera
PROS
• single-shot, non-invasive
• µm resolution,
Hao Ding (LMU) Mon 18:45, “Few cycle
shadowgraphy of plasma wave trains”
Susanne Schöbel (HZDR) Mon 19:00, “Excitation of
beam-driven plasma waves in a hybrid LPWFA”
Stephan Kuschel (SLAC), Mon 14:40,
“Controlling self-injection treshold in LWFAs”
Max Gilljohann (LMU), Mon 11:30, “Hybrid
acceleration: Studying PWFAs with LWFAs”

## Slide 16
Grazing-angle shadowgraphy accesses
plasma accelerators @ ne < 1017 cm-3...
... along with ns-scale ion motion physics,
in close dialog with simulations
Budker Institute for
Nuclear Physics
CCD
SLAC e- bunch
(20 GeV, 2 nC)
laser probe
(0.8 µm, 0.1 ps)
f/40 lens
heat-pipe oven
Li vapor
na = 0.8e17 cm-3
∆t
1.5 m
α = 0.01 rad
Konstantin Lotov, Mon 17:55, “Simulations of long-term
wakefield evolution in a radially bounded plasma”
Rafal Zgadzaj (UT) Mon 18:00, “Optical measurements of ns-scale
plasma evolution excited by beam-driven plasma wakes at FACET”
0.03 ns
0.3 ns
0.6 ns
0.9 ns
10 µs
r [mm]
1
1
0
∆t < 0
5 cm

## Slide 17
0
133
266
532
665
z(μm)
1.5
GV/m
-1.5
1.2
GV/m
-1.2
0
Weaker, secondary wake
Main wake
t0
t0 + 2.3ps
LASER
100
-100
100
-100
Zhang, PRL 119, 064801 (2017); ibid, Sci. Rpts | 6:29485
(d)
(e)
220
ne (arb.units)
120
8.7
ne
(1017cm-3)
0
110
-110
-110
125
300
475
825
1000
z(μm)
LASER
Position of downramp
Injection
110
Relativistic few-fs LWFA e-bunch transversely probes electromagnetic fields of a subject LWFA
Measurement
Simulation
-Electron radiography is sensitive to electromagnetic fields of the the plasma wave and of the accelerated charge.
-Easily scaled to low densities.
Plasma density
Electron shadowgram

## Slide 18
probe
(250 fs)
pump
(150 fs, 90 J)
gas cell
probe
multiplexer
camera A
camera B
camera D
camera C
anamorphic imaging
anamorphic imaging
pol
z
200 µm
1
-1
0
Faraday rotation
angle (degrees)
1
side view
Single-shot Faraday rotation “streaks”
from bubble walls in ne0 = 3e17 cm-3
plasma, magnetized by 2 GeV e-
0
2
3
4
5
6
z (cm)
500 µm
AF test pattern
500 µm
vacuum
chamber
based on
technique
developed
by Kaluza,
PRL 105, 115002
(2010)
shot #1
shot #2
Yen-Yu Chang (UT), Mon 19:15 “ Single-shot
movies of evolving GeV LPAs by multiplexed
Faraday rotation”
Notes: Data from shot 860.

## Slide 19
Frequency-Domain “Streak Camera”
Records EVOLUTION of Plasma Bubble
in ONE shot
• Phase streak is a temporal sequence of the object’s projections
• We can record several of them simultaneously to recover
the object’s evolving structure tomographically
phase streak
Z. Li et al., Opt. Lett. 35, 4087 (2010)
___________, Nature Photonics 5, 68 (2011)
Zhengyan Li

## Slide 20
probe
3 mm
gas jet
pump
30 fs,
1 J
We’ve observed formation, propagation & collapse of
plasma bubbles with a frequency-domain streak camera
8.6o
ne = 1.3e19 cm-3
1.7e19 cm-3
2e19 cm-3
2.2e19 cm-3
probe phase shift
lineouts of bubble phase streak
ionization front
z [mm]
z [mm]
z [mm]
z [mm]
Li et al., Phys. Rev. Lett. 113, 085001 (2014)
electron
spectra
optimum
reference
to spectrometer
bubble streak
50 MeV
75
100
50 MeV
75
100
line-outs
electron
spectra
no electrons
Data for 3 shots at
ne = 1.7e19 cm-3:
9
6
3
probe phase shift [rad]
1.5 Ldeph
λpu = 0.8µm
λpr = 0.4µm

## Slide 21: Frequency-domain tomography (FDT) records multiple phase streaks in one shot…
λprobe [nm]
lens
cascaded
4WM
lens
800 nm
pump
spectrometer
400 nm
probes
400 nm
ref. pulse
800 nm
probe
gener-
ators
CCD
1) 2D Hologram
2) Reciprocal 2D Hologram
FT
3) Phase Streaks
glass
ϕ = 1o
ϕ = 27o
ϕ = -25o
ϕ = -65o
ϕ = 68o
window
and IFT
4) Tomographic
Reconstruction
CT
Z. Li et al., Nature Commun. 5, 3085 (2014)
The ultimate 4D plasma
structure diagnostic!?

## Slide 22: Single-shot tomographic movies unravel the complex physics of filament formation in Kerr media
Z. Li et al., Nature Commun. 5, 3085 (2014)
PUMP
PULSE
ENERGY
Propagation distance zob into medium
Time from peak of pump pulse
nonlinear
refractive
index ∆n
linear propagation
mild self-focusing
strong self-focusing
arrested collapse
self-guided filament formation
plasma generation
Single-shot movie
xob [µm]
0.7 µJ
0.6 µJ
0.5 µJ
0.4 µJ
ζ [fs]
NLSE simulations

## Slide 23
I have highlighted those that visualize ne(r,ζ,z) or E(r,ζ,z) over
substantial propagation distances z in one shot.
1) Electromagnetic Emission from plasma wakes
2) Light scattering from PA structures
3) Multi-shot pump-probe experiments
Many diagnostics have contributed
to plasma electron acceleration science
Rosenzweig, PRL 61, 98 (1988); PRA 39, 1586 (1989)
Kallos, PRL 100, 074802 (2008)
expt
schematic
Hamster PRL 71, 2725 (1993)
Thomas, PRL 98, 054802 (2007) – e- injection
Gordon, PRL 98, 045004 (2008) - theory
Helle, PRL 105, 105001 (2010) - expt
SH eo shocks:
(from bubble walls)
Far IR (ω ~ ωp):
wave-breaking radn:
(broadband)
Clayton, PRL 54, 2343 (1985)
Gordon, PRL 80, 2133 (1998)
Ting, PRL 77, 5377 (1996)
Le Blanc, PRL 77, 5381 (1996)
co-propagating
probe (cτpr > λp)
transverse
probe (cτpr > λp)
sub-λp electron
witness bunch
Siders, PRL 76, 3570 (1996)
Marqués, PRL 78, 3463 (1997)
sub-λp optical
probe pulse
Rafal Zgadzaj (UT) Mon 16:00, “CO2-laser-driven LWFA
experiments at Brookhaven’s Accelerator Test Facility”

## Slide 24
SUMMARY: plasma accelerator research has spurred, and continues to spur, innovation in diagnostics
MC Downer, R Zgadzaj, A Debus, U Schramm & MC Kaluza,
“Diagnostics for plasma-based electron accelerators,”
Rev. Mod. Phys. 90, 35002 (2018).
1) e-bunch diagnostics: We can now measure
• εN << 0.1 mm mrad • τb ~ 1 fs
noninvasively, in one shot. Challenge: single-shot, non-
invasive 3D bunch reconstruction at arbitrary locations.
2) Plasma structure diagnostics: We can now visualize
• plasma density profiles • electric field profiles
of evolving, µm-scale, plasma accelerators noninvasively,
in one shot over cm to meter propagation lengths.
Challenge: single-shot 4D visualization
For a more compre-
hensive survey see: